## EKOPOWER Orderform
EKOPOWER |  | Measuring, Monitoring & Control Systems for Energy & Environment
Customer: | Example of configuration
Fax: |  |  | CUSTOM MADE FOR YOUR
E-mail: |  |  | SPECIFIC PROJECT
Project number:
We supply datalogger systems according to your requirements. If you want assistance for selecting items, please contact us!
Description | Code | notes | Qty | Price PP | Total
GENERAL | The system can be configured using the specified items below
BASIC LOGGER MODULE |  |  | Qty | Euro (ex VAT/BTW)
Choose either EKO21N or iBOX logger module! |  | incl one Hi-speed SD card 128 MByte (no inputs) | please specify required items
EKO21N-BASIC | EKO21-basic | incl rs232 cable and control software | 0 | 425 | 0
Software manual EKO21N |  | ULTRA low power version with optional iP, see below
OR
OR | OR choose:
iBOX-BASIC | iBOX-basic | with built in webserver with adjustable ip nr | 1 | 425 | 425
manual iBOX |  | including Ethernet cable for connection to network
If you do not need datalogging to SD card but only sending data to server you can choose for iSENSE:
iSENSE module options: |  | Substract for iSENSE | 1 | -25 | -25
iSENSE-ethernet: choose iBOX-basic
iSENSE-GPRS : choose EKO21N-basic with iP option, see below: GPRS
iSENSE has same input possibilities, online graphs and WEB-display options
Accessories:
SD Memory card 128MB |  | extra SD card (Hi Speed) | 0 | 20 | 0
SD Memory card >128MB |  | On request 128-256 MB up to 2 Gbyte (Hi-speed) |  | on request
USB-serial interface for EKO21N | USB-SER | for communication via USB via your pc or laptop | 0 | 24 | 0
SD card reader via USB | SD-USB |  | 0 | 24 | 0
INPUTS and SENSORS
Anemometer options for First Class Windlogger WindOne
Anemometer input (usual 1 to 6 pcs) | Ane-in | For MAX40+ anemometer+lightning protection (max 8 pcs) | 0 | 65 | 0
16 bits option recommended for accurate windmonitoring
Improved MAX40 anemometer | MAX40+ | with stainless steel mounting + M5 bold + 2 m cable. | 0 | 150 | 0
First Class anemometer | Anemo-FC | Scientific class: 16 bits recommended (no heating) | 0 | 625 | 0
MEASNET calibration | MEAS-CAL | incl cal report EKO21N | 0 | 375 | 0
Acoustic anemometer | EKO-Sonic | Without moving parts |  | on request
Wind vane input+excitation (usual 1-2) | Vane-in | For eg DIR21 wind vane+ lightning protection 20.000A | 0 | 65 | 0
including low power switched excitation
Wind dirrection sensor +2m cable | DIR21+ | Improved standard windvane | 0 | 150 | 0
Meteo options
Low cost anemometer/vane | 7911 | For non-professional use ! Inlc 12 m cable and inputs | 1 | 255 | 255
Standard MAX40 anemometer | MAX40 | no bracket, no cable | 0 | 115 | 0
Temperature sensor with 5 m cable | TS21 | Low power, accuracy typ 0.2 C incl input | 0 | 90 | 0
Weather screen for TS21 | WS21 | for temperature TS21 and/or humidity sensor HUM21 | 0 | 80 | 0
Atmospheric Pressure (low cost) | APS21 | Low power, accuracy 1mB at 25C incl input | 0 | 255 | 0
Rain collector 0.2mm | 7852M | inclusive counter input | 0 | 165 | 0
Temperature & humidity+ 5 m cable | TS21/HUM21/WS | Sensor in weather shield WS21 incl inputs | 0 | 285 | 0
Solar radiation sensor | 6450 | including input and mounting bracket | 0 | 215 | 0
UV radiation sensor | 6490 | including input and mounting bracket | 0 | 395 | 0
Additional sensors and inputs options |  | versatile possibilities: voltage, current, counter etc |  | on request
16 bits resolution version | 16ADC | for highest accuracy, price for each set of up to 8 channels | 0 | 85 | 0
Analog input voltage | ANAL-IN-V | 0..5 (or other: please specify) incl input protection | 0 | 30 | 0
Analog current input | ANAL-IN-C | 0..20 or 4..20 mA incl input protection | 0 | 30 | 0
Analog mV input | ANAL-IN-mV | please specify range | 0 | 60 | 0
Status input | STAT-IN | Contact or voltage level | 0 | 30 | 0
Counter input 12 bits | COUNT-IN | For voltage pulses or contact closures rain or kWh | 0 | 40 | 0
Prescaler for counter up to 12 bits | COUNT-PRE | for high puls rates | 0 | 40 | 0
Alarm output (max two possible) | ALARM-OUT | Open collector output | 0 | 40 | 0
Power relais output 250V/6A | RELAIS-DIN | Relais at DIN rail for connection to alarm output | 0 | 40 | 0
Excitation for 4..20 mA loops | Exc-switched | 12/15 V or 24 switched isolated power supply (max 30 mA) | 0 | 80 | 0
switched on only during sampling for saving energy
other excitation on request
DC current sensor | I-DC | bi-directional DC current sensor (specify range) incl input | 0 | 120 | 0
AC voltage/current/power |  | Specify voltage , current, phases 3/4 wire, balanced |  | on request
additional or other sensors/transducers |  | Specify the requires sensor or transducer |  | on request
complete systems can be configured according to your requirements and specifications
CABLE and cabinet
Cable single MAX | CABL-MAX | For single anemometer p/m (also for temp sensor TS21) | 0 | 1.45 | 0
Cable single DIR | CABL-DIR | For single wind vane | 0 | 1.75 | 0
Cable Connection kit for wind sensors | Con-kit | Waterproof connection kit for cable extensions | 0 | 20 | 0
Cabinet IP65 grey+lock+door | MCASE--L | Waterproof for outside use, fits for all battery types | 0 | 95 | 0
Stainless steel cabinet | (20*25*15 cm) | (incl waterproof cable entries) |  | on request
mounting kit for cabinet | MK | for any mast size: please specify diameter at order | 0 | 65 | 0
COMMUNICATION
Options for EKO21N version with wireless GPRS internet connection (called EKO21N-iP)
Wireless Internet Connection | GPRS | Data files are send automatically wireless to server | 0 | 295 | 0
GPRS programming adaptor | GPRS-prog | for (re)programming of GPRS system | 0 | 20 | 0
SMS alarm to mobile telephone | SMS-ALARM-21 | eg if battery is low or other condition | 0 | 35 | 0
Options for iBOX
GPRS router |  |  |  | on request
WiFi module |  |  | 0 | 135 | 0
INTERNET CONNECTION and HOSTING for EKO21N-iP , iBOX and iSENSE
Hosting service for online graphs | GRAPH-GEN | Generation of webpages with graphs |  | on request
Webdisplay |  | for EKO21N-iP (or iBOX) |  | free
POWER SUPPLY (also 24 V DC version available)
For iBOX or EKO21N external 220V |  | switched power supply prim 100-240V 50/60 Hz | 0 | 35 | 0
For EKO21N or EKO21N-iP:
lithium battery pack 13Ah/7,2 V+holder | Lith-pack 7.2 | for up to appr 5-7 years operation at 1 upload/day *) | 0 | on request
alkaline battery pack 12V/13000mAh | batpack 12V13 | for up to appr 5 years opreration at 1 upload/day *) | 0 | 65 | 0
solar power module for EKO21N-iP | SOL-6V BIG | big 7W/12Ah /6 volts for EKO21N-iP | 0 | 250 | 0
(for more frequent uploads) |  | *) depending on configuration
MOUNTING ACCESSORIES
sensor mounting arm | USMA | for MAX40+ /DIR21+/ WS21/6450 incl stainless clamp | 0 | 115 | 0
please specify mast diameter at order
big boom |  | according IEC recmmendations |  | on request
SOFTWARE for dataprocessing
Software for dataprocessing | Wind-utils | Wind Calculations in Excel | 0 | 450 | 0
Windographer software |  |  |  | on request
Engineering & configuration charge |  |  | 0 | 50 | 0
TOTAL | euro ex btw/vat |  |  |  | 655
Freight: | EKO21 materials and sensors to be calculated |  |  |  | 0
GRAND TOTAL | euro ex btw/vat |  |  |  | 655
Prices may change without prior notice
Insurance: optional | Condition: prepayment |  |  |  | Warrantee: 1 year (carry in)
Time for delivery: to be agreed, usual within some weeks
PRICES: Export, in Euro, NET ex VAT ex works Eindhoven. Mast systems on request (via our mast- partner) |  |  |  |  | 2008-10-02
FAX or MAIL this sheet to EKOPOWER:
Fax: +3140.2814119 | E mail: info@ekopower.com
Tel: +3140.2814458 | Web site: www.ekopower.com
1) standard first 8 channels 12 bits resolution: 4 digits display, eg 25,37 C or 8,57 m/s, 16 bits resolution: 5 digit display, eg 25,375 C or 8,576 m/s
16 bits resolution is recommended for accurate wind speed measurements with eg MEASNET calibration certificate
if more then 8 channels are required it can be expanded with 16 bits in groups up to 8 channels
For analog and wind speed inputs recording of average, min, max and standard deviation are possible
The standard deviation divided by average wind speed is equal to the turbulence intensity!
OTHER INFORMATION Windlogger WindOne:
General description WindOne windlogger
Significant features WindOne windlogger
The truth about wind speed measurements for wind energy applications
OPTIONAL MASTS ARE AVAILABLE UP TO 70 meter
Time for delivery: as all systems are configured according customer specifications the time for delivery is usual some weeks,
ask EKOPOWER for current time for delivery!